WATER LEVEL METER
 

If you are familiar with these instruments you know how expensive they are. Southern DataStream wanted to build a non-expensive water level meter, reliable enough to be used in the field. After some research in the Internet, the circuit attached in the file below was found and implemented. You might find interesting and useful to visit the website publishing this one and many other electronic circuits for varied applications http://www.imagineeringezine.com/. I found it is very important to use exactly the same components, the same beeper which has very small power consumption. When I tried to buy the beeper, I found they would only sell me 100 or more!! So the sales rep from Star Micronics America, Christine Stima (ph= (732) 623-5500 ext. 549) in NJ, sent me three of these little beepers as samples. The other important consideration is to use probes with enough area to be able to overcome the water resistance. Specially knowing that some of the ground water has small conductivity. The water level meters are being used very successfully in the field now.
 

Plan: Caution, there is an error in the plan, respect the modification in Blue.

Remark: The sensor probes is like a switch, when the water is detected the switch is closed. So, if you want to test you circuit you can link the wires that came from the sensor probes.

Simplified View of the circuit when sensor probes wires linked (to test component):

[image: image1.jpg]L5V

N CELL

BATTERY

]

SENSOR 22
BROBES
R3

PN2222
o

R1

1.5y

PN2907
Q2

:tﬂ BEEPER

STAR MMB-01

8mA WHEN
BEEPING

CURRENT CONDUCTION THROUGH WATER TRIGGERS ALARM BEEPER

WATER SEEPAGE ALARM

DRAWN BY: DAVE JOHNSON

DAVID JOHNSON AND ASSOCIATES
WATER SEEPAGE ALARM

| Do Nurhe
x H20ALM.DSN

e Sy o 117000 | ——7



















B





C





E





B





C





E





1.5V





+





-





E





C





E





B





B





C





E





B





C





E





2.2K(





10K(





1 M(








